“DEVELOPMENT AND VALIDATION STABILITY INDICATING RP-HPLC AND UV SPECTROPHOTOMETRIC METHOD FOR DETERMINATION OF LENALIDOMIDE IN BULK AND TABLET”

A Thesis submitted

In Partial fulfillment of the requirements

For the Degree of

MASTER OF PHARMACY

In

PHARMACEUTICAL CHEMISTRY

By

ASHUKA SINGH

Enrollment No. 201020050072230

Under the Supervision of

DR. ROHIT TRIPATHI

(PROFESSOR)

SHAMBHUNATH INSTITUTE OF PHARMACY, JHALWA, PRAYAGRAJ

To the

FACULTY OF PHARMACY

DR. APJ ABDUL KALAM TECHNICAL UNIVERSITY

(Formerly Uttar Pradesh Technical University)

LUCKNOW

OCTOBER, 2026

Table of Contents

| S. No. | TITLES | PAGE NO. |
| --- | --- | --- |
| 1. | INTRODUCTION | 3-38 |
| 1.1 | Analytical Chemistry | 3-6 |
| 1.2 | Analytical method development | 7-9 |
| 1.3 | CHROMATOGRAPHY | 9-14 |
| 1.4 | HIGH PERFORMANCE LIQUID CHROMATOGRAPHY | 14-30 |
| 1.5 | High- Performance Thin–Layer Chromatography (HPTLC) | 30-33 |
| 1.6 | Spectrophotometric methods | 33-34 |
| 1.7 | Validation of analytical method | 34-38 |
| 2 | Drug Profile | 45-47 |
| 3 | Review of Literature | 48-60 |
| 4 | Aim and Objective | 61-63 |
| 5 | Experimental & Result | 64-86 |
| 5.1 | Method 1: Establishment and validation of an RP-HPLC technique for estimating Lenalidomide in pharmaceutical bulk and capsule preparations. | 64-78 |
| 5.2 | Method 2: Development and Validation of UV-Spectrophotometric Method for Determination of Lenalidomide in Bulk and Tablets | 79-86 |
| 6 | References | 92 |

List of Tables

| Table No. | Titles | Page No. |
| --- | --- | --- |
| 1 | Characteristics of standard and ideal columns | 25 |
| 5.1 | Optimization of Mobile Phase Composition also RP-HPLC Method Development Flow rate | 69 |
| 5.2 | Final Optimized Conditions for RP-HPLC method | 71 |
| 5.3 | Linearity Studies | 71 |
| 5.4 | Bulk determination | 71 |
| 5.5 | Analysis of Capsule Formulation | 72 |
| 5.6 | Recovery Studies | 72 |
| 5.7 | Repeatability Studies | 73 |
| 5.8 | Precision Studies | 73 |
| 4.9 | Sensitivity Studies | 73 |
| 4.10 | System Suitability studies | 73 |
| 5.11 | Ruggedness Investigation | 75 |
| 5.12 | Robustness Studies | 75 |
| 5.13 | Linearity Studies of Lenalidomide | 84 |
| 5.14 | Analysis of Bulk API Drug | 84 |
| 5.15 | Analysis of Capsule Formulation | 85 |
| 5.16 | Recovery Investigation | 85 |
| 5.17 | Repeatability Studies | 85 |
| 5.18 | Precision Studies | 86 |
| 5.19 | Ruggedness Studies | 86 |

List of Figures

| Figure No. | Titles | Page No. |
| --- | --- | --- |
| 1.5 | HPLC system: A schematic representation | 12 |
| 5.A.a | Trial I - Mobile phase composition ACN: H2O (8:2) | 23 |
| 5.A.b | Trial II - Ratio CH3OH: H2O (70: 30 v/v) | 40 |
| 5.A.c | Trial III - Ratio CH3OH: H2O (80: 20 v/v) | 41 |
| 5.A.d | Trial IV-Ratio CH3OH: H2O (80:20 v/v) (pH 9) | 41 |
| 5.A.e | Trial V- Ratio CH3OH: H2O (70:30 v/v) (pH 9) | 42 |
| 5.A.f | Trial IV-Ratio CH3OH: H2O (70:30 % v/v) (pH 9) | 43 |
| 5.B | Chromatogram of Lenalidomide CH3OH: H2O (70:30 v/v) (pH 9) | 42 |
| 5.C | Calibration Graph for Lenalidomide | 43 |
| 4.3.A | UV spectrum of Lenalidomide displaying λ max at 395.00 nm in Methanol | 42 |
| 4.3.C | Standard Curve of Lenalidomide. | 43 |

List of Symbols/Abbreviations

| Abbreviations/Symbols | Full Form |
| --- | --- |
| % | Percentage |
| %RSD | Percentage relative standard deviation |
| ± | Plus or minus |
| × | Multiplication; used in dimensions or calculations |
| °C | Degree Celsius |
| Å | Ångström; unit of length |
| µg | Microgram |
| µg/mL | Micrograms per millilitre |
| µL | Microlitre |
| µm | Micrometre |
| cm | Centimetre |
| g | Gram |
| mL | Millilitre |
| mL/min | Millilitres per minute; mobile-phase flow rate |
| mg | Milligram |
| min | Minute |
| mm | Millimetre |
| m²/g | Square metres per gram; specific surface area |
| m/z | Mass-to-charge ratio |
| nm | Nanometre; analytical wavelength |
| pH | Measure of acidity or alkalinity |
| psi | Pounds per square inch; pressure unit |
| r² | Coefficient of determination |
| tR | Retention time |
| v/v | Volume by volume; solvent-mixture ratio |
| λ | Wavelength |
| σ | Standard deviation (when used in validation equations) |
| N | Number of theoretical plates (chromatographic efficiency) |
| Rs | Chromatographic resolution or response ratio, depending on context |
| ACN | Acetonitrile |
| API | Active Pharmaceutical Ingredient |
| C8 | Octyl-bonded chromatographic stationary phase |
| C18 | Octadecyl-bonded chromatographic stationary phase |
| CE–MS | Capillary Electrophoresis–Mass Spectrometry |
| ct-DNA | Calf Thymus Deoxyribonucleic Acid |
| DNA | Deoxyribonucleic Acid |
| EPA | Environmental Protection Agency |
| ESR | Electron Spin Resonance |
| FDA | Food and Drug Administration |
| GC | Gas Chromatography |
| GC–IR | Gas Chromatography–Infrared Spectroscopy |
| GC–MS | Gas Chromatography–Mass Spectrometry |
| HPLC | High-Performance Liquid Chromatography |
| HPLC–MS | High-Performance Liquid Chromatography–Mass Spectrometry |
| HPTLC | High-Performance Thin-Layer Chromatography |
| ICH | International Council for Harmonisation of Technical Requirements for Pharmaceuticals for Human Use |
| IR | Infrared |
| IS | Internal Standard |
| LC | Liquid Chromatography |
| LC–MS/MS | Liquid Chromatography–Tandem Mass Spectrometry |
| LC–NMR | Liquid Chromatography–Nuclear Magnetic Resonance |
| LOD | Limit of Detection |
| LOQ | Limit of Quantification |
| MeOH | Methanol |
| MS | Mass Spectrometry |
| MS/MS | Tandem Mass Spectrometry |
| NMR | Nuclear Magnetic Resonance |
| PDA | Photodiode Array |
| RF | Response Factor |
| RP-HPLC | Reversed-Phase High-Performance Liquid Chromatography |
| RSD | Relative Standard Deviation |
| SST | System Suitability Testing |
| THF | Tetrahydrofuran |
| TLC | Thin-Layer Chromatography |
| UHPLC | Ultra-High-Performance Liquid Chromatography |
| UV | Ultraviolet |
| UV–Vis | Ultraviolet–Visible |
| USFDA | United States Food and Drug Administration |